

|  |  |  |  |
| --- | --- | --- | --- |
| Contractor:Inspector: | Date:Time: | Consent #: | Site: |
| **Site Inspection of Erosion and Sediment Control Practices** |
| **Erosion and Sediment Control Practice** | **Yes** | **No** | **N/A** | **Corrective Action** |
| **General Information** |  |  |  |  |
| Do you know what receiving system the project drains into |  |  |  |  |
| Are you aware of local rainfall patterns during various times of the year |  |  |  |  |
| Soil types and erosion potential for site |  |  |  |  |
| Is a copy of the erosion and sediment control plan on site |  |  |  |  |
| Is temporary fencing placed in areas where no construction is to take place |  |  |  |  |
| **Construction** |  |  |  |  |
| Straw or hay shall be unrotted material and applied at a rate of 6,000 kg/ha |  |  |  |  |
| If wind is a problem mulch should be either crimped or bound to prevent blowing |  |  |  |  |
| Hydro mulch must contain a minimum of 80% virgin or recycled wood, be in accordance with manufacturers specifications and from 2,200 kg/ha – 2,800 kg/ha and slope length < 150 m |  |  |  |  |
| Wood chip can be applied at rates of 10,000 kg/ha – 13,000 kg/ha |  |  |  |  |
| **Maintenance** |  |  |  |  |
| Inspect after each rainfall or after strong winds and repair or replace as needed |  |  |  |  |
| **Decommissioning**  |  |  |  |  |
| Ensure good stabilisation occurs |  |  |  |  |