FIGURE1.8.tif

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contractor:  Inspector: | Date:  Time: | | | Consent #: | | | Site: |
| **Site Inspection of Erosion and Sediment Control Practices** | | | | | | | |
| **Erosion and Sediment Control Practice** | | **Yes** | **No** | | **N/A** | **Corrective Action** | |
| **General Information** | |  |  | |  |  | |
| Do you know what receiving system the project drains into | |  |  | |  |  | |
| Are you aware of local rainfall patterns during various times of the year | |  |  | |  |  | |
| Soil types and erosion potential for site | |  |  | |  |  | |
| Is a copy of the erosion and sediment control plan on site | |  |  | |  |  | |
| Is temporary fencing placed in areas where no construction is to take place | |  |  | |  |  | |
| **Construction** | |  |  | |  |  | |
| Area cleared of unsuitable material and smooth graded | |  |  | |  |  | |
| Geotextile placed over this area ensuring it is properly pinned and overlapped | |  |  | |  |  | |
| At least 10 m of aggregate, 4 m wide and 1.5 x aggregate size in depth. Aggregate 100-105 mm washed aggregate | |  |  | |  |  | |
| Ensure that vehicles cannot bypass the entranceway | |  |  | |  |  | |
| Can be used with a shaker ramp (cattle stops) or with a wheel wash | |  |  | |  |  | |
| **Maintenance** | |  |  | |  |  | |
| Inspect weekly and after each rain | |  |  | |  |  | |
| Maintain the entranceway to prevent it becoming a source of sediment | |  |  | |  |  | |
| If used with a wheel wash, ensure that this drains to an approved sediment retention practice. | |  |  | |  |  | |
| **Decommissioning** | |  |  | |  |  | |
| Remove aggregate and geotextile and stabilise. At this point ensure that traffic is kept off of the area | |  |  | |  |  | |